## SPARE KIT
Kit No | Kit Description | Material Description | Quantity | Mini HL | Mini / PHT N / MX | Midi / PHT D / MD |  |  |  | Digifiller | Flexfiller / PHT F PF | [5 empty] | PressDS / PHT V / PFI |  |  | Midi PSD / PHD | PSD / PHD |  |  | MidiFill Plus / PHD C | Flexfiller Plus / PHD-C / PF PLUS |  |  | PressDS Plus |  |  | Flamco | BOSS | Grundfos
|  |  |  | 130 / 230 | 130 / 230 | 125 | 225 | 150 | 250 |  | 125 | 225 | 150 | 250 | 280 | 2160 | 225 | 250 | 280 | 150 | 250 | 280 | 2160 | 150 | 250 | 280 | 2160 | 250 | 280 | 2160
STA12501 | Controller¦Std Pressurisation Unit | CONTROLLER | 1 |  | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √
STA12502 | Controller¦Degasser (Pre 2018) | PSD CONTROLLER | 1 | [16 empty] | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √
STA12503 | Controller¦ v10 | MICRO CONTROLLER v10 enhanced | 1 | [16 empty] | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √
STA12504 | Expansion Board v10 | EXPANSION BOARD v10 | 1 | [16 empty] | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √
STA12500 | Power Supply and Switch | ON/OFF SWITCH | 1 |  | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √
|  | ELECTRICAL PLATE TWO PUMP | 1
STA12505 | Pump¦Flamco PQAm60 | PQA60 PUMP | 1 |  |  | √ | √ |  |  |  | √ | √ |  |  |  |  | √ | [13 empty] | √ | √ | √
|  | RING CRIMP | 1
|  | 0.75MM CABLE BLACK | 1.03
|  | 1/2BSP non return valve | 1
|  | 15mm x 1/2BSP C X Mi Coupling | 2
|  | 15mm x 1/2BSP C X Mi Elbow | 1
STA12506 | Pump¦Flamco PQm81-BS | PQ81B PUMP | 1 |  |  |  |  | √ | √ |  |  |  | √ | √ |  |  |  | √ |  | √ | √ |  |  | √ | √ |  |  | √ |  |  | √ | √ | √
|  | RING CRIMP | 1
|  | 0.75MM CABLE BLACK | 1.03
|  | 1/2BSP non return valve | 1
|  | 15mm x 1/2BSP C X Mi Coupling | 2
|  | 15mm x 1/2BSP C X Mi Elbow | 1
STA12507 | Pump¦Flamco PQA90 | PQA90 PUMP | 1 | [11 empty] | √ |  |  |  | √ |  |  | √ |  |  |  | √ |  |  | √ |  | √ | √ | √
|  | RING CRIMP | 1
|  | 0.75MM CABLE BLACK | 1.03
|  | 1/2BSP non return valve PN16 | 1
|  | Coupling 15mm x 1/2bsptKuterlite 61055K | 2
|  | Elbow 15mm x 1/2bspt M Kuterlite 61155K | 1
STA12508 | Pump¦Flamco 003 | FLAMCO 003 | 1 | [6 empty] | √ | [20 empty] | √ | √ | √
|  | RING CRIMP | 1
|  | 0.75MM CABLE BLACK | 1.03
|  | 4MM ELBOW | 1
|  | 4 MM NYLON TUBE | 100 MM
|  | 4 mm BULKHEAD | 1
STA12509 | Pump¦Boss PR13 | BOSS PR13 | 1 |  |  | √ | √ |  |  |  | √ | √ |  |  |  |  | √ | [14 empty] | √
|  | RING CRIMP | 1
|  | 0.75MM CABLE BLACK | 1.03
|  | 1/2BSP non return valve | 1
|  | 15mm x 1/2BSP C X Mi Coupling | 2
|  | 15mm x 1/2BSP C X Mi Elbow | 1
STA12510 | Pump¦Boss PR11 | BOSS PR11 | 1 |  |  |  |  | √ | √ |  |  |  | √ | √ |  |  |  | √ | [13 empty] | √
|  | RING CRIMP | 1
|  | 0.75MM CABLE BLACK | 1.03
|  | 1/2BSP non return valve | 1
|  | 15mm x 1/2BSP C X Mi Coupling | 2
|  | 15mm x 1/2BSP C X Mi Elbow | 1
STA12511 | Pump¦Pedrollo PQ3000 | PQ3000 PUMP 3 PHASE | 1 | [12 empty] | √ | [6 empty] | √ |  |  |  | √ |  |  | √ | √ | √ | √
|  | RING CRIMP | 1
|  | 0.75MM CABLE BLACK | 1.03
|  | 1/2BSP non return valve PN16 | 1
|  | Coupling 15mm x 1/2bsptKuterlite 61055K | 2
|  | Elbow 15mm x 1/2bspt M Kuterlite 61155K | 1
STA12512 | Pump¦Mini unit | EP77 PUMP | 1 | √ | √ | [25 empty] | √ | √ | √
|  | SQUARE SUPPORT | 2
|  | M10 X ADAPTOR | 1
|  | 8MM PLASTIC TUBE | 500 MM
STA12513 | Mains Inlet Kit 4-6L tanks | TORBECK WATER INLET VALVE | 1 | √ | √ | √ | √ | √ | √ | √ | [6 empty] | √ | √ | √ |  |  |  |  | √ |  |  |  | √ | √ | √ | √ | √ | √
|  | LOW LEVEL FLOAT SWITCH | 1
STA12514 | Mains Inlet Kit 18L tanks | WATER INLET BALLVALVE/FLOAT | 1 | [7 empty] | √ | √ | √ | √ | √ | √ | [8 empty] | √ | √ | √ |  |  |  | √ | √ | √
|  | LOW LEVEL FLOAT SWITCH | 1
STA12515 | Pressure Transducer 1-6v 0-10b | Transducer 10bar | 1 |  | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ |  | √ | √ | √ |  |  |  |  | √ | √ | √ |  | √ | √ |  | √ | √ | √
STA12516 | Pressure Transducer 1-6v 0-16b | Transducer 16bar | 1 | [12 empty] | √ | [10 empty] | √ |  |  | √ | √ | √ | √
STA12517 | Pressure Transducer1-6v -1-15b | Vac Cylinder Transducer | 1 | [16 empty] | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √
STA12518 | Pump Fitting Kit 1/2"bsp 0-10b | 15mm x 1/2BSP C X Mi Coupling | 2 |  |  | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √
|  | 15mm x 1/2BSP C X Mi Elbow | 1
|  | Flexible Hose | 2
|  | Non-return valve | 1
STA12519 | Mini Digital Pipe Fittings Kit | 1/4BSP F Brass Tee | 1 |  | √ | [25 empty] | √ | √ | √
|  | 1/4BSP MF Ballvalve | 1
|  | 8MM X 1/4BSP M Adapter | 2
|  | 8MM Poly Tube Per Mtr | 1
|  | 8MM Tee | 2
STA12520 | Mini Mech' Pipe Fittings Kit 1 | 8MM Poly Tube Per Mtr | 1 | √ | [26 empty] | √ | √ | √
|  | 6MM Poly Tube Per Mtr | 1
|  | 8MM Tee | 2
|  | 1/4BSP F x 6mm Pushfit Adaptor | 4
STA12521 | Mini Mech' Pipe Fittings Kit 2 | 1/4BSP MF Ballvalve | 1 | √ | [26 empty] | √ | √ | √
|  | 1/4bspF x 6mm Push Fit Bulkhead | 1
|  | 2x8mm x 6x6mm Manifold | 1
STA12522 | Mini Mech' Pump Press' Switch | Danfoss Pressure Switch (KP135) | 1 | √ | [26 empty] | √ | √ | √
STA12523 | Mini Mech' HiLo Press' Switch | Flamco Twin Switch 0.5/3.0 - KP21 | 1 | √ | [26 empty] | √ | √ | √
STA12524 | AAV & Vac Cylinder Spares Kit | CYLINDER FLOAT SWITCH | 1 | [16 empty] | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √
|  | 1/2 FLAT GAUZE FILTER | 1
|  | 22MM X 1/2 F COUPLING | 1
|  | 1/2 NON RETURN VALVE | 1
|  | FLEXVENT SUPER 1/2 AUTO AIR VENT | 1
|  | Coupling 15mm x 1/2bsptKuterlite 61055K | 2
|  | 1/2 X 15MM MALE COUPLING | 1
STA12525 | Flexfiller Plus Solenoid Kit 1 | 1/2" Solenoid EV220B NC 16 BAR | 1 | [16 empty] | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √
|  | Solenoid Coil | 1
|  | Solenoid Plug | 1
|  | Coupling 15mm x 1/2bsptKuterlite 61055K | 1
STA12526 | Flexfiller Plus PRV Kit | PRV REDUFIX 1/2 FF | 1 | [16 empty] | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √
|  | 1/2 Brass Nipple | 1
STA12527 | Flexfiller Plus Solenoid Kit 2 | 1/2" Solenoid EV220B | 1 | [16 empty] | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √
|  | Solenoid Coil | 1
|  | Solenoid Plug | 1
|  | Coupling 15mm x 1/2bsptKuterlite 61055K | 1
|  | Elbow 15mm x 1/2bspt M Kuterlite 61155K | 1
STA12528 | Press DS Balancing Valve Kit | 1/2 " BSP M TO 10 MM PLASTIC PUSHFIT | 1 | [13 empty] | √ | √ | √ | [8 empty] | √ | √ | √ | √ | √ | √
|  | 1/2 NON RETURN VALVE | 1
|  | 1/2 X 15MM MALE COUPLING | 1
|  | 1/2 X 15MM MALE ELBOW | 1
|  | 10 MM PLASTIC TUBE | 2 MTR
|  | 1/2 BALANCING VALVE DN15 | 1

## SPARE KIT - FMAT
Kit No | Kit Description | ID | Part Description | Qty
CONTROLLER - SPARE KIT |  |  |  |  | See (*) These are addition to the SPC Controller (STA06018) only if the 3 Phase contactor is not working (Please check with customer).
STA12503 | Controller v10 | * | Micro Controller v10 | 1
STA12504 | Expansion Board v10 | * | Expansion Board v10 | 1
STA12500 | Power Supply and Switch | * | ON/OFF SWITCH | 1
|  | * | ELECTRICAL PLATE TWO PUMP | 1
Flamcomat - SPARES KIT
STA12514 | Mains Inlet Kit 18L tanks | Float | WATER INLET BALLVALVE/FLOAT | 1
|  | Low Level | LOW LEVEL FLOAT SWITCH | 1
STA12505 | Pump¦Flamco PQAm60 | P4/P3 | PQA60 PUMP | 1
|  | * | RING CRIMP | 1
|  | * | 0.75MM CABLE BLACK | 1.03
|  | SC3/SC3 | 1/2 NON RETURN VALVE | 1
|  | * | 15mm x 1/2BSP C X Mi Coupling | 2
|  | * | 15mm x 1/2BSP C X Mi Elbow | 1
STA12531 | Topup Solenoid Kit | S3 | 1/2BSP Solenoid EV250B | 1
|  |  | Solenoid Coil | 1
|  |  | Solenoid Plug | 1
STA12529 | Flamcomat¦System Solenoid D0-D3 | S1/S2 | 1BSP Solenoid EV250B 032U5256 | 2
|  |  | Solenoid Coil | 2
|  |  | Solenoid Plug | 2
STA12530 | Flamcomat¦System Solenoid D4-D6 | S1/S2 | Solenoid 1/2bsp 16bar EV220B (032U7115) | 2
|  |  | Solenoid Coil | 2
|  |  | Solenoid Plug | 2
[5 empty] | ID | Description
STA06018 |  |  | SPC Controller 230v D0, D1, D2, D3, D4, D5, D6 |  | AAV | Automatic Air Vent
[5 empty] | PV1 | Pressureless Vessel
STA06851 |  | See (*) | Motor Contactors for D2 (3 Phase) (2x1.3KW) |  | W | Weight sensor
STA06819 |  | See (*) | Motor Contactors for D4 (3 Phase) (2x1.5KW) |  | FH1 | Flexlible hose return to vessel
STA06821 |  | See (*) | Motor Contactors for D5 (3 Phase) (2x2.2KW) |  | FH2 | Flexlible hose Flow to vessel
STA06823 |  | See (*) | Motor Contactors for D6 (3 Phase) (2x3.0KW) |  | V1 | Pump connection valve from vessel
[5 empty] | V2 | Pump connection valve to vessel
STA01922 |  | SC1 / SC2 | Non Return Valve (Check Valve) 1" (D0, D1, D2, D3) |  | P1 | Pump 1 (transfer pump)
STA06636 |  |  | Non Return Valve (Check Valve) 1/2" (D4, D5, D6) |  | P2 | Pump 2 (transfer pump)
STA02037 |  | SC1 / SC2 | Flat Non Return Valve M60 to D130 |  | SC1 | Check valve for pump 1
STA09675 |  | SR | 1-1/4" 2 bar Safety relief valve Md80-D130 >2016 |  | SC2 | Check valve for pump 2
STA06288 |  |  | 1" 2 bar Safety relief valve D10/D20 <2016 |  | FV | Vent valve
[5 empty] | PT | Pessure sensor - topup controls
STA10043 |  | W | Weight sensor connector - Flamcomat |  | P | pressure sensor - system pressure monitor
[5 empty] | FR1 | Flow regulator valve 1
STA07415 |  | W | Level sensor FSI 1 (150 - 300l) <2017 |  | FR2 | Flow regulator valve 2
STA07416 |  |  | Level sensor FSI 2 (400 - 800l) <2017 |  | S1 | Inlet solenoid valve 1
STA07417 |  |  | Level Sensor FSI 3 (1000l - 2000l) <2017 (upto 1000L) |  | S2 | Inlet solenoid valve 2
STA07418 |  |  | Level sensor FSI 4 (2800 - 3500l) |  | SR | Safety relief valve
STA07419 |  |  | Level sensor FSI 5 (5000 - 10000l) |  | V4 | Drain valve
[5 empty] | S3 | Inlet solenoid valve 3
STA06824 |  | P1 / P2 | Transfer Pump D0 (D02) CM 1-4 A-R-I-E AQQE CAAN (1 x 230V) |  | P3 | Pump 3 (Topup pump)
STA06825 |  |  | Transfer Pump D1 (D10) CM3-6 A-R-I-E AQQE CAAN (1 x 230V) |  | P4 | Pump 4 (Topup pump)
STA06827 |  |  | Transfer Pump D2 (D20) CM5-6 A-R-I-E AQQE (3 x 415V) |  | SC3 | Check valve for pump 3
STA06828 |  |  | Transfer Pump D3 (D60) CR3-15 A-FGJ A-E HQQE (1 x 230V) |  | SC4 | Check valve for pump 4
STA06704 |  |  | Transfer Pump D4 (D80) CR3-17 A-FGJ-A-E HQQE (3 x 415V) |  | V3 | Isolation and drain valve
STA06829 |  |  | Transfer Pump D5 (D100) CR3-23 A-FGJ-A-E HQQE (3 x 415V)
STA06830 |  |  | Transfer Pump D6 (D130) CR3-31 A-FGJ-A-E HQQE (3 x 415V)
STA01084 |  | PV1 | Diaphragm150l <2017
STA01082 |  |  | Diaphragm 200l <2017
STA01085 |  |  | Diaphragm 300l <2017
STA01086 |  |  | Diaphragm 400l <2017
STA01087 |  |  | Diaphragm 600l <2017
STA01081 |  |  | Diaphragm 800l <2017
STA01088 |  |  | Diaphragm 1000l Diameter 750 <2017
STA01083 |  |  | Diaphragm1200l
STA01089 |  |  | Diaphragm 1600l
STA01090 |  |  | Diaphragm 2000l
STA01091 |  |  | Diaphragm 2800l
STA01092 |  |  | Diaphragm 3500l
STA01093 |  |  | Diaphragm 5000l
STA01094 |  |  | Diaphragm 6500l
STA01095 |  |  | Diaphragm 8000l
STA01096 |  |  | Diaphragm 10000l
STA01559 |  |  | Particle Filter D0, D1, D2, D3
STA01560 |  |  | Particle Filter D4, D5, D6
STA06286 |  | P | JUMO MIDAS TYPE 401001 0-20 mA 0-16 Bar (SPC)
STA07510 |  | FR1 / FR2 | BALANCING VALVE - IMI STAD DN15 (D0 - D3)
STA09332 |  |  | BALANCING VALVE - IMI STAD DN25 (D4 - D6)
17738 |  | V1 / V2 | BALL CONNECTION VALVE & ADAPTOR DN32
New - Flamcomat (2017) design
STA10043 |  | W | Weight sensor connector - Flamcomat
STA10036 |  | W | Level sensor FSI 1 (200l) >2017
STA10037 |  |  | Level sensor FSI 2 (300 - 500l) >2017
STA10038 |  |  | Level Sensor FSI 3 (600l - 1000l) >2017
STA01934 |  |  | Diaphragm Rupture Sensor 200l - 1000l FMAT >2017
STA01570 |  | AAV | Flexvent super ½" with air intake peventor
STA10017 |  | PV1 | Diaphragm 200l >2017
STA10018 |  |  | Diaphragm 300l >2017
STA10019 |  |  | Diaphragm 400l >2017
STA10020 |  |  | Diaphragm 500l - 600l >2017
STA10021 |  |  | Diaphragm 800l >2017
STA10022 |  |  | Diaphragm 1000l >2017
STA10039 |  |  | Extension piece for level sensor M12 [200l - 300l]
STA10030 |  |  | Extension piece for level sensor M16 [400l - 1000l]
STA10033 |  |  | Adjusting foot M12 [200l - 300l]
STA10035 |  |  | Adjusting foot M16 [400l - 1000l]

## PART LOCATION
FLEXFILLER /PHT F / PF |  | MIDI / PHT D / MD |  | DIGIFILLER
ID | Description | ID | Description | ID | Description
1 | PQA60 PUMP | 1 | PQA60 PUMP | 1 | FLAMCO 003 PUMP
| PQ81B PUMP |  | PQ81B PUMP | 2 | FLEXIBLE HOSE
| PQA90 PUMP | 2 | 1/2 NON- RETURN VALVE | 3 | 4 MM ELBOW
| PQ3000 PUMP 3 PHASE | 3 | FLEXIBLE HOSE | 4 | 4 MM NYLON TUBE
2 | 1/2 NON- RETURN VALVE | 4 | TRANSDUCER | 5 | 4 MM BULKHEAD
3 | FLOAT VALVE | 5 | FLOAT VALVE | 6 | Float Switch
4 | OVERFLOW CONNECTION | 6 | COMBINED ISOLATION AND DRAIN | 7 | FLOAT VALVE
5 | 15MM X 1/2 TANK CONNECTOR | 7 | OVERFLOW CONNECTION | 8 | OVERFLOW CONNECTION
6 | LOW LEVEL FLOAT SWITCH | 8 | ½” BRASS TEE | 9 | COMBINED ISOLATION AND DRAIN
7 | COUPLING 15mm x 1/2 BSPt | 9 | LOW LEVEL FLOAT SWITCH | 10 | 15 MM COPPER TUBE
8 | ½" BRASS TEE (Twin pump only) |  |  | 11 | 15 X 15 X 1/2 TEE
9 | BREAK TANK |  |  | 12 | TRANSDUCER
10 | FLEXIBLE HOSE
11 | COMB ISOLATION AND DRAIN
12 | TRANSDUCER
MINI / PHT N / MX-E |  | MINI HL / MX -HL
ID | Description | ID | Description
1 | EP77 PUMP | 1 | Mini Float Valve
2 | TRANSDUCER | 2 | 22 mm Overflow Connection
3 | 1/4 MF BALLVALVE | 3 | ¼” Brass Nut
4 | OVERFLOW CONNECTION | 4 | ¼” Ball Valve
5 | FLOAT VALVE | 5 | 40 mm Pressure Gauge c/w Capillary
6 | LOW LEVEL FLOAT SWITCH | 6 | Rocker switch
7 | 8MM PLASTIC TUBE | 7 | 6 mm Poly-tube
8 | 8MM X 1/4 ADAPTOR | 8 | 8 mm Poly-tube
9 | 8 MM PUSH-FIT TEE | 9 | Pump Control Pressure Switch
10 | M10 X ADAPTOR | 10 | High/Low Pressure Switch
11 | 1/4 BRASS TEE | 11 | Fused Terminal Block
12 | ¼” BRASS LOCKING NUT | 12 | Pump – All Models (Model E EP77)
13 | SQUARE SUPPORT | 13 | Flexible Pump Support Bracket
|  | 14 | 6mm x 8mm Push-Fit Manifold
PressDS / PHT-V / PFI |  | PSD / PHD / BOSS PSD |  | FLEXFILLER PLUS / PHD-C / BOSS FILL PLUS
ID | Description | ID | Description | ID | Description
1 | FLOAT VALVE | 1 | FLEXVENT SUPER 1/2 AAV | 1 | FLOAT VLAVE
2 | OVERFLOW CONNECTION | 2 | PSD CYLINDER | 2 | OVERFLOW CONNECTION
3 | BREAK TANK | 3 | PURGE SOLENOID VALVE | 3 | LOW LEVEL FLOAT SWITCH
4 | ¼”BSP M x 10 mm Push-Fit | 4 | SLAM SHUT SOLENOID VALVE | 4 | FLEXVENT SUPER 1/2 AAV
5 | ADDITIVE TANK (18L) | 5 | CYLINDER TRANSDUCER | 5 | 15MM X 1/2 TANK CONNECTOR
6 | COMB ISOLATION AND DRAIN | 6 | PRESSURE REDUCING VALVE | 6 | FLEXIBLE HOSE
7 | TRANSDUCER | 7 | FLAMCO 3/4" B RELIEF VALVE | 7 | COMB ISOLATION AND DRAIN
8 | DN15 Venturi Balancing Valve - Additive | 8 | CYLINDER FLOAT SWITCH | 8 | TRANSDUCER
9 | DN15 Venturi Balancing Valve – Water | 9 | COMB ISOLATION AND DRAIN | 9 | 1/2 TOPUP SOLENOID VALVE
10 | ½” BRASS TEE | 10 | 1/2 NON- RETURN VALVE | 10 | 1/2 SLAM SHUT SOLENOID VALVE
11 | PQA60 PUMP | 11 | COUPLING M COMPR 15MM X 1/2 | 11 | 1/2 PRESSURE REDUCING VALVE
| PQ81B PUMP | 12 | PQ81B PUMP | 12 | 1/2 PURGE SOLENOID VALVE
| PQA90 PUMP |  | PQA90 PUMP | 13 | PSD Cylinder
12 | FLEXIBLE HOSE |  | PQ3000 PUMP | 14 | CYLINDER FLOAT SWITCH
13 | 1/2 NON- RETURN VALVE |  |  | 15 | FLAMCO 3/4" B RELIEF VALVE
14 | 1/2 X 15MM MALE COUPLING |  |  | 16 | PQ81B PUMP
PQA90 PUMP
PQ3000 PUMP 3 PHASE
|  |  |  | 17 | 1/2 NON- RETURN VALVE
|  |  |  | 18 | CYLINDER TRANSDUCER
PressDS Plus
ID | Description
1 | FLOAT VLAVE
2 | OVERFLOW CONNECTION
3 | LOW LEVEL FLOAT SWITCH
4 | ADDITIVE FLOW SWITCH
5 | FLEXIBLE HOSE
6 | COMB ISOLATION AND DRAIN
7 | TRANSDUCER
8 | DN15 BALANCING VALVE - Additive
9 | DN15 BALANCING VALVE - Water
10 | FLEXVENT SUPER 1/2 AAV
11 | CYLINDER
12 | 1/2 TOPUP SOLENOID VALVE
13 | 1/2 SLAM SHUT SOLENOID VALVE
14 | 1/2 PRESSURE REDUCING VALVE
15 | 1/2 PURGE SOLENOID VALVE
16 | FLAMCO 3/4" B RELIEF VALVE
17 | CYLINDER FLOAT SWITCH
18 | CYLINDER TRANSDUCER
19 | 1/2 NON- RETURN VALVE
20 | PQ81B PUMP
PQA90 PUMP
PQ3000 PUMP 3 PHASE